## Slide 1: EU-MDR QMS System Inclusions
Dan O’Leary CBA, CQA, CQE, CRE, SSBB, CIRM
President
Ombu Enterprises, LLC
Dan@OmbuEnterprises.com
www.OmbuEnterprises.com
OMBU
ENTERPRISES, LLC
©2019, Ombu Enterprises, LLC
Notes: Introduction/Concepts of Risk Management
1

## Slide 2: QMS As A Mатрешка Doll
The QMS System:
Systems inside Systems
Plans inside Plans
Reports inside Reports

## Slide 3: Risk Management System Art. 10(9)(e)
Risk Management Plan
Pre
Annex I(3)(a)
Risk Management Report
Pre
ISO 14971:2019, Clause 10

## Slide 4: Clinical Evaluation System Art. 10(9)(f)
Clinical Evaluation Plan
Pre
Art. 61
Annex XIV
Clinical Development Plan
Clinical Evaluation Report
Pre
Art. 61
Annex XIV
Clinical Evaluation Assessment Report
Pre
Prepared by the NB
PMCF Evaluation Report

## Slide 5: Clinical Development System Art. 10(9)(f)
Clinical Evaluation Plan
Clinical Development Plan
Pre
Annex XIV(1)(a)(8th indent)
Clinical Development Report
Not Covered

## Slide 6: PMCF System Art. 10(9)(f)
PMS Plan
PMCF Plan
Pre
Annex III(1.1)(b)(10th indent)
Clinical Evaluation Report
PMCF Evaluation Report
Post
Annex III(1.1)(b)(10th indent)

## Slide 7: PMS System Art. 10(9)(i)
PMS Plan
Art. 84
Anx. III(1.1)(b)
PMCF Plan
Trend Analysis Plan
PMS Report
Art. 85
Anx. III(1.2)
PSUR
Art. 86
Anx. III(1.2)

## Slide 8: Trend Analysis System Art. 10(9)(i)
PMS Plan
Trend Analysis Plan
Art. 88
Anx. III(1.1)(b)(5th indent)
Trend Analysis Report
Not Covered
Trend Analysis Notification
Art. 88