## Sheet1
K Number | Device name | Decision Date | Reg number | Product Code | Generic Device Name | Review Advisory Committee | Type | Review Time | Indications for Use
K220454 | Vivally System Wearable, Non-Invasive Neuromodulation System and Mobile Application | 2023-04-03 | 876.531 | NAM | Stimulator, Peripheral Nerve, Non-Implanted, For Urinary Incontinence | GU | Traditional | 410 | The VivallyÂ® System is a wearable neuromodulation system to treat patients with the bladder conditions of urge urinary incontinence and urinary urgency.
K230292 | Samsung ECG Monitor Application with Irregular Heart Rhythm Notification | 2023-05-02 | 870.2345 | QDA | Electrocardiograph Software for Over-The-Counter Use | CV | Traditional | 89 | The Samsung ECG Monitor Application with Irregular Heart Rhythm Notification is an over-the-counter (OTC) software only, mobile medical application operating on a compatible Samsung Galaxy Watch and Phone for informational use only in adults 22 years and older. The app analyzes pulse rate data to identify episodes of irregular heart rhythms suggestive of atrial fibrillation (AFib) and provides a notification suggesting the user record an ECG to analyze the heart rhythm. The Irregular Heart Rhythm Notification Feature is not intended to provide a notification on every episode of irregular rhythm suggestive of AFib and the absence of a notification is not intended to indicate no disease process is present; rather the feature is intended to opportunistically acquire pulse rate data when the user is still and analyze the data when determined sufficient toward surfacing a notification. Following this prompt, or based on the user’s own initiative, the app is intended to create, record, store, transfer, and display a single-channel ECG, similar to a Lead I ECG. Classifiable traces are labeled by the app as either AFib or sinus rhythm with the intention of aiding heart rhythm identification. The app is not intended for users with other known arrhythmias, and it is not intended to replace traditional methods of diagnosis or treatment. Users should not interpret or take clinical action based on the device output without consultation of a qualified healthcare professional.
K231081 | Dexcom G7 Continuous Glucose Monitoring (CGM) System | 2023-05-15 | 862.1355 | QBJ | Integrated Continuous Glucose Monitoring System, Factory Calibrated | CH | Special | 28 | The Dexcom G7 Continuous Glucose Monitoring (CGM) System is a real time, continuous glucose monitoring device indicated for the management of diabetes in persons 2 years and older. The Dexcom G7 CGM System is intended to replace fingerstick BG testing for diabetes treatment decisions. Interpretation of the Dexcom G7 CGM System results should be based on the glucose trends and several sequential sensor readings over time. The Dexcom G7 CGM System also aids in the detection of episodes of hyperglycemia and hypoglycemia, facilitating both acute and long-term therapy adjustments. The Dexcom G7 CGM System is also intended to autonomously communicate with digitally connected devices, including automated insulin dosing (AID) systems. The Dexcom G7 CGM System can be used alone or in conjunction with these digitally connected medical devices for the purposes of managing diabetes.
K223498 | Radius VSM and Accessories | 2023-06-01 | 870.1025 | MHX | Monitor, Physiological, Patient(With Arrhythmia Detection Or Alarms) | CV | Traditional | 192 | The Radius VSM and accessories are intended to be used as both a wearable multi-parameter patient monitor and an accessory to a multi-parameter patient monitor that is intended for multi-parameter physiological patient monitoring in hospital and healthcare facilities. The Radius VSM and accessories are indicated for the monitoring of hemodynamic (including ECG, arrhythmia detection, non-invasive blood pressure, SpO2, Pulse Rate, PVi, heart rate, and temperature), and respiratory (e.g., impedance, acoustic, and pleth-based respiration rate) physiological parameters along with the orientation and activity of adults. The Radius VSM and accessories are indicated for the non-invasive continuous monitoring of functional oxygen saturation of arterial hemoglobin (SpO2) and Pulse Rate (PR) ofwell or poorly perfused adults during both no motion and motion conditions. The Radius VSM and accessories are indicated for continuous monitoring of skin temperature of adults. The Radius VSM and accessories are indicated for monitoring ofthe orientation and activity of patients including those susceptible to pressure ulcers. The Radius VSM and accessories are indicated for the continuous non-invasive monitoring of PVi as a measure of relative variability of the photoplethysmograph (pleth) of adults during no motion conditions. PVi may be used as a noninvasive dynamic indicator of fluid responsiveness in select populations of mechanically ventilated adult patients. Accuracy ofPVi in predicting fluid responsiveness is variable and influenced by numerous patient, procedure and device related factors. PVi measures the variation in the plethysmography amplitude but does not provide measurements of stroke volume or cardiac output. Fluid management decisions should be based on a complete assessment of the patient's condition and should not be based solely on PVi. Devices with Masimo technology are only indicated for use with Masimo accessories. Radius VSM Accessories: Radius VSM ECG Electrodes are disposable, single-patient ECG electrodes intended to acquire ECG signals from the surface of the body. They are indicated for use on adults for up to 3 days of skin surface contact. Radius VSM Blood Pressure Cuffs are accessories intended to be use with a noninvasive blood pressure measurement system to measure blood pressure. They are indicated for use on adults during no motion conditions.
K223676 | SomniCheck | 2023-06-01 | 882.1835 | GWL | Amplifier, Physiological Signal | NE | Traditional | 175 | SomniCheck is a prescription-use, single use physiological data recorder intended to amplify, digitize, and record data from multiple physiological channels for subsequent transfer to polysomnography systems. The device measures the following signals: EEG (4-channel), PPG (by Maxim), Temperature, 3-axis accelerometer, Gyroscope (position), and Audio/ sound for snoring. It is intended for use on adult patients (18 and older) and can be used in a hospital, clinic, or home.
K231350 | OCD MT Cap (85-00397-000) | 2023-06-08 | 882.5802 | QCI | Transcranial Magnetic Stimulation System For Obsessive-Compulsive Disorder | NE | Special | 30 | The NeuroStar Advanced Therapy system is intended to be used as an adjunct for the treatment of adult patients suffering from Obsessive-Compulsive Disorder (OCD).
K230776 | Momcozy Wearable Electric Breast Pump ( Model: S9 Pro, S12 Pro) | 2023-06-09 | 884.516 | HGX | Pump, Breast, Powered | OB | Traditional | 80 | The Momcozy Wearable Electric Breast Pump (Model: S9 Pro, S12 Pro) is a powered breast pump intended to express milk from lactating women in order to collect milk from their breasts. The device is intended for a single user.
K223217 | Zynex Monitoring System, Model CM-1600 | 2023-06-16 | 870.277 | DSB | Plethysmograph, Impedance | CV | Traditional | 242 | Monitoring of the following parameters and their relative changes, indicative of relative changes in fluid volume in adult patients: Bioelectrical Impedance ECG Amplitude PPG Amplitude Skin Temperature
K230538 | All-Day Clear Slim ADCS1 Hearing Aid. All-Day Clear ADC1 Hearing Aid | 2023-06-16 | 874.3325 | QUH | Self-Fitting Air-Conduction Hearing Aid, Over The Counter | EN | Traditional | 109 | All-Day Clear Slim ADCS1 hearing aid: The All-Day Clear Slim hearing aids are intended for individuals 18 years or older with perceived mild to moderate hearing loss. The intended use of the All-Day Clear Slim hearing aids is to amplify and transmit sound to the ears and hereby compensate for hearing loss. The hearing aids must only be used by the intended person. They should not be used by any other person as they could damage hearing. The charging case is intended to charge the battery of the rechargeable hearing aids. The All-Day Clear App is intended for individuals 18 years or older, to setup and/or adjust All-Day Clear Slim hearing aids through Android and Apple iOS smartphones. All-Day Clear ADC1 hearing aid: The All-Day Clear hearing aids are intended for individuals 18 years or older with perceived mild to moderate hearing loss. The intended use of the All-Day Clear hearing aids is to amplify and transmit sound to the ears and hereby compensate for hearing loss. The hearing aids must only be used by the intended person. They should not be used by any other person as they could damage hearing. The charging case is intended to charge the battery of the rechargeable hearing aids. The All-Day Clear App is intended for individuals 18 years or older, to set-up and/or adjust All-Day Clear hearing aids through Android and Apple iOS smartphones.
K231485 | iLet« ACE Pump | 2023-06-21 | 880.573 | QFG | Alternate Controller Enabled Insulin Infusion Pump | CH | Special | 29 | The iLet ACE Pump is an alternate controller enabled (ACE) pump intended to deliver insulin under the skin based on input from an integrated continuous glucose monitor (iCGM) and an interoperable automated glycemic controller (iAGC), in people 6 years of age or older with diabetes mellitus. The iLet ACE Pump is intended for single-person use; it is not to be shared.
K231532 | ActiGraph LEAP activity monitor (ActiGraph LEAP) | 2023-06-23 | 882.505 | LEL | Device, Sleep Assessment | NE | Special | 28 | The ActiGraph LEAPâ„¢ is a small worn activity monitor designed for documenting physical movement associated with applications in physiological monitoring. The device is intended to monitor the activity associated with movement during sleep. The ActiGraph LEAPâ„¢ can be used to analyze circadian rhythms and assess activity in any instance where quantifiable analysis of physical motion is desirable.
K220198 | Medi Lift PLUS | 2023-06-28 | 882.589 | NFO | Stimulator, Transcutaneous Electrical, Aesthetic Purposes | NE | Traditional | 520 | The Medi Lift PLUS is intended for facial stimulation and indicated for over-the-counter cosmetic use.
K230469 | Compact Wearable Pump | 2023-06-30 | 884.516 | HGX | Pump, Breast, Powered | OB | Traditional | 129 | The Compact Wearable Pump is intended to express and collect breastmilk from lactating women for the purpose of feeding collected breastmilk to a baby. The Compact Wearable Pump is intended for a single user.